## Slide 2: Why should organizations care about inland flooding risk?
Most of the United States is at some risk for flooding, so it is important that organizations, including associations, businesses, and community groups understand the potential impacts.
The Ready Business Program for Inland Flooding and the Preparedness and Mitigation Project Plan allow users to take action to protect employees, protect customers, and help ensure business continuity as well.
NATURAL DISASTER IMPACT |  | 
IMMEDIATE 40% OF SMALL BUSINESSES WON’T REOPEN | ONE YEAR LATER 25% MORE SMALL BUSINESSES WILL CLOSE | THREE YEARS LATER 75% OF BUSINESSES WITHOUT A CONTINUITY PLAN WILL FAIL

## Slide 3: Table of Contents
INTRODUCTION | 4
Program Overview | 7
Benefits | 8
1 ¦ IDENTIFY YOUR RISK | 10
Back-to-Business Self-Assessment | 11
Assess Your Readiness | 12
2 ¦ DEVELOP A PLAN | 14
STAFF/SURROUNDINGS/SPACE/SYSTEMS/STRUCTURE/SERVICE | 16
STAFF | 17
SURROUNDINGS | 19
SPACE | 20
SYSTEMS | 21
STRUCTURE | 22
SERVICE | 23
Quick Reference Guide | 24
3 ¦ TAKE ACTION | 35
Applications | 37
Feedback | 44
Links and Content | 45
APPENDIX A ¦ Acronyms and Glossary | 46
APPENDIX B ¦ Resources | 48

## Slide 4: INTRODUCTION

## Slide 5: Introduction
Should your organization be concerned about flooding? In most instances, yes. Everywhere in the United States is at some risk for flooding, so it is important that you understand your risk, develop preparedness and mitigation plans, and take action. Doing so will not only ensure the safety of employees and customers, but it will help you remain in business after disasters like flooding strike. Maintaining business continuity is important for you, and when you are able to continue operations after a disaster, you will improve your community’s ability to recover as well.
THE READY BUSINESS PROGRAM MOVES ORGANIZATIONAL LEADERS THROUGH A STEP-BY-STEP PROCESS TO:
 | Identify Your Risk
 | Develop a Plan
 | Take Action

## Slide 6: Introduction
Following these steps in the Ready Business Program as a part of your overall business continuity planning will help protect assets (people, property, operations); sustain the capability to provide goods and services to customers and/or supply chain; maintain cash flow; preserve competitive advantage and reputation; and provide the ability to meet legal, regulatory, financial, and contractual obligations.
Nonprofit organizations can also benefit from the Ready Business Program as business continuity will protect staff, clients, and property while allowing operations to continue.
The Small Business Administration (SBA) estimates that 75% of businesses without continuity planning will fail within three years of a disaster. The Ready Business Program offers information to complete continuity planning, including resources from the Federal Emergency Management Agency (FEMA) Business Continuity Plan website.
Once completed, the Ready Business Program will provide you with the tools to plan, take action, and become a Ready Business by addressing preparedness and mitigation for your STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE. And you will also have the opportunity to apply for recognition as a member of the Ready Business Community.

## Slide 7: Introduction: Program Overview
Organizations have six options for recognition through the Ready Business Program. The levels include STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE. The SERVICE level can be achieved by completing requirements for STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE.
STAFF includes planning and preparedness activities for the protection of your staff.
SURROUNDINGS includes the land-use decisions regarding constructing a flood-wall or levee.
SPACE includes the contents of your workspace, such as inventory, filing cabinets, shelving, and other furniture.
SYSTEMS includes utility systems that support the operation of the building and are generally located on the roof.
STRUCTURE includes architectural and structural elements of the building, especially construction types that may be vulnerable to damage or failure during an event.
SERVICE includes the opportunities for your organization to engage and serve the community following an event. You may only qualify for SERVICE to others after you have prepared your own organization first.
It is important to remember that injury, damage, concurrent damage, cascading disasters like fire following the event, business interruption, or even increased repair or recovery costs can come from failure to prepare or mitigate. As a result, the first step in the Ready Business Program is to complete a Back-to-Business Self-Assessment to identify vulnerabilities from any source.
The Ready Business Program is intended to recognize and reward businesses and organizations who complete preparedness and mitigation actions to protect employees, customers, and continuity. You can get started today by following the steps provided.
For more information or assistance, contact info@flash.org or (877) 221-7233.

## Slide 8: Benefits of participating in the program and achieving recognition include
Peace of mind that your organization is prepared not only for inland flooding, but for other business interruptions and natural disasters.
Ready Business window cling to announce to your customers or clients and employees that you have taken steps to prepare your STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and are prepared to be of SERVICE after an event.
Ready Business recognition certificate.
Ready Business web badge to display on your organization’s website.
Organization Listing on Ready Business website.
Sample news release to announce your organization’s participation in the Ready Business Program and tips for media placement.

## Slide 9: Introduction: Ready Business Program
IDENTIFY YOUR RISK
Complete the Back-to-Business Self-Assessment to determine the specific areas your organization needs to address to prepare, mitigate risk, and return to operation following a disaster.
DEVELOP A PLAN
Based on the information in the Back-to-Business Self-Assessment, complete the Ready Business Preparedness and Mitigation Project Plan for STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE to identify preparedness and mitigation actions needed to ensure safety and business continuity. (Note: Completing this plan is a critical first step toward recognition as a Ready Business.)
Review the Quick Reference Guide to determine which preparedness and mitigation actions you want to take based on the potential impacts to your organization.
TAKE ACTION
Now that you’ve created your Preparedness and Mitigation Project Plan, make sure the building owner approves it if you are leasing or renting your building. (Note: Be sure to check with your local building department to secure required permits prior to performing any retrofitting or other mitigation activity.)
Perform preparedness and mitigation activities as prioritized in the Preparedness and Mitigation Project Plan. Document your actions as instructed in the applications for STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE with signatures, photographs, receipts, or letters from a company or organization manager, engineer, or design professional, where applicable.
Complete the application at the end of the program for recognition as a Ready Business.
After you have completed these steps, you will be eligible to become a member of the Ready Business Community, and will enjoy the peace of mind of knowing you have done your part to promote safety, mitigate potential loss, and protect your business or organization.
1
2
3

## Slide 10: IDENTIFY YOUR RISK

## Slide 11: Identify Your Risk: Back-to-Business Self-Assessment
PLANNING SCENARIO
On May 1 of this year, a flooding event strikes your community and damages both the structure and the contents in the building where your organization operates. Due to damage, your building has been ‘yellow tagged’ during a rapid assessment by the building department and is closed. A more thorough assessment of your building damage is needed to determine if your structure is safe, or can be made safe, prior to reopening.
Due to the number of buildings damaged in your community, your building’s detailed damage assessment will take place three days after the event. You should assume you will not be able to access your facilities for at least three days.
Depending on your type of organization, expect that either 50 percent of your inventory (product) is unsellable, or that 50 percent of your computers or other equipment was damaged during the event (choose whichever creates the greater impact on your organization). Assume that all utilities are interrupted.
Further, you should project that the disruptions will continue for one additional day. The assessment will show that the damage is repairable to the structure, so now you will need to address staff, contents, cleanup, repairs, and replacement.
Based on this scenario, complete the 13 questions on the following pages to identify your risk.
1

## Slide 12: Identify Your Risk: Back-to-Business Self-Assessment
ASSESS YOUR READINESS
Based on the planning scenario, complete the 13 questions below to highlight areas that your Preparedness and Mitigation Plan and Business Continuity Plan should address.
IMPACTS ON YOUR ORGANIZATION |  | RESOURCES THAT CAN HELP MINIMIZE DAMAGE, DISRUPTIONS, AND INJURIES
SYSTEMS/STRUCTURE |  | 
Can your organization operate without any of the following: computers, copier, fax machine, files, inventory, or special equipment (e.g., x-ray equipment, cash register, credit card readers)? | Yes No | Ready Business Program – SYSTEMS
Can your organization operate without any of the following: gas, power, water, internet, or telecommunications? | Yes No | Ready Business Program – SYSTEMS
Can you still operate your organization without access to the damaged building(s)? | Yes No | Ready Business Program – STRUCTURE
STAFF/CUSTOMERS/VENDORS/SUPPLIERS (PEOPLE) |  | 
Can you meet payroll if your business income is interrupted? If yes, estimate how long. | Yes No | Business Continuity Plan – PEOPLE
Are your employees able to commute to work? | Yes No | Business Continuity Plan – PEOPLE
IMPACT ON YOUR ORGANIZATION |  | 
Is your organization easily accessible to the public, your customers, and employees (e.g., parking)? | Yes No | Business Continuity Plan – PEOPLE
Are you communicating status with employees, key customers, vendors, and suppliers throughout your recovery? | Yes No | Business Continuity Plan – PEOPLE

## Slide 13: Identify Your Risk: Back-to-Business Self-Assessment
OPERATIONS |  | 
Can your organization operate without access to the damaged building? | Yes No | Business Continuity Plan – OPERATIONS
Have you set priorities on what operations your organization needs to recover 1st, 2nd, 3rd, etc.? | Yes No | Business Continuity Plan – OPERATIONS
Are your suppliers up and running or do you have sufficient parts/supplies on hand to continue without resupply? | Yes No | Business Continuity Plan – OPERATIONS
Are you able to ship your product or provide services to your customers based on your current impacts, understanding that the demand for these products or services may drastically change? | Yes No | Business Continuity Plan – OPERATIONS
Do you still have all your customers/clients after the disaster? | Yes No | Business Continuity Plan – OPERATIONS
OVERALL OPERATIONS |  | 
Can your organization survive losses if it is closed and/ or inaccessible for 3 to 7 days? | Yes No | Ready Business Program & Business Continuity Plan
For each question, 1-13, that you answered ‘No’, address the specific issue in the Ready Business Preparedness and Mitigation Project Plan, or in your Business Continuity Plan. Use the Ready Business Program resources to help determine the potential for damage to buildings and contents as well as how you will reduce the damage to buildings and contents if it occurs. Resources are incorporated thoughout the Toolkit and a comprehensive list can be found on pages 43-44. |  | 

## Slide 14: DEVELOP A PLAN

## Slide 15: Develop A Plan
Based on the information in the completed Back-to-Business Self-Assessment, create a Ready Business Preparedness and Mitigation Project Plan for your STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE to identify critical preparedness and mitigation actions needed to ensure safety and business continuity. Completing this plan will bring you one step closer to recognition as a Ready Business.
Review the Quick Reference Guide to determine which preparedness and mitigation actions you want to take based on the potential impacts to your business or organization.
2

## Slide 16: Develop A Plan
STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, AND SERVICE
After you have identified the potential flooding risks, and determined the possible impacts on your business or organization, create a Preparedness and Mitigation Project Plan and decide which solutions you will use to reduce risks. The Preparedness and Mitigation Project Plan will support the business continuity planning and readiness process, and bring you one step closer to recognition as a Ready Business
READY BUSINESS PREPAREDNESS AND MITIGATION PROJECT PLAN
Organization:
Project Lead:
Name:
Title/Department
Address:
Phone Number:
Email:
Executive Summary:
Background: (Provide a summary description of risk to include priorities)
Goals and Objectives:

## Slide 17: Develop A Plan: STAFF
POTENTIAL PREPAREDNESS ACTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Develop Business Continuity and Crisis Communications Plans |  |  | 
Conduct an Employee Awareness Campaign |  |  | 
Develop an Employee Training Program |  |  | 
Conduct an Employee Training Session |  |  | 
Conduct a Flood Drill |  |  | 
Review Insurance Coverage/Create Inventory (Note: See call out box on page 14 regarding special information on flood insurance.) |  |  | 
ADDITIONAL ACTION: Develop an Employee Shelter/Evacuation Plan and Include an Emergency Supply Kit |  |  | 
ADDITIONAL ACTION: Purchase a NOAA Weather Radio for Monitoring During an Event/Download a Mobile Alerting App |  |  | 
1
2
3
4
5
While it is always important to evacuate when requested by authorities, some types of inland flooding (e.g. flash floods) may require you to act more quickly. Below is a list of key preparedness measures your organization can complete to ensure your staff is prepared to handle an inland flood; however, the list is not all-inclusive. And, even if you are required to evacuate, being prepared allows you to stay in contact with your staff and provides a sense of comfort that your business will be able to reopen after the disaster. For additional guidance on preparedness measures, please see the Quick Reference Guide: STAFF in this program.
By performing Steps one through six, businesses and organizations will be eligible for recognition as a Ready Business – STAFF. The Additional Actions are recommended, but not required, for recognition.
6

## Slide 18: Develop A Plan: STAFF
FLOOD INSURANCE IS CRITICAL FOR BUSINESSES AND EMPLOYEES ALIKE
Did you know, that homeowners insurance doesn’t cover flood? The National Flood Insurance Program (NFIP) was developed to help provide a means for property owners to financially protect themselves. The NFIP offers flood insurance to homeowners, renters, and business owners if their community participates in the NFIP. Participating communities agree to adopt and enforce ordinances that meet or exceed FEMA requirements to reduce the risk of flooding. The average flood insurance policy costs about $700 per year. To learn more about the NFIP and flood insurance in your area, visit FloodSmart.

## Slide 19: Develop A Plan: SURROUNDINGS
SURROUNDINGS RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Floodwalls and Levees | Consult with a professional engineer regarding land use or code restrictions/ requirements in your area. If elevating the structure or performing floodproofing techniques is not feasible, then consider designing floodwalls or levees on the property to attempt to repel floodwaters. |  |  | 
Below is a list of nonstructural inland flooding mitigation activities that can be completed by a floodplain manager or professional engineer; however, the list is not all-inclusive. For additional guidance on nonstructural risks, please see the Quick Reference Guide: SURROUNDINGS in this program.
By performing all applicable activities, businesses and organizations will be eligible for recognition as a Ready Business – SURROUNDINGS.

## Slide 20: Develop A Plan: SPACE
NONSTRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Contents | Determine and relocate your critical contents at least one foot above the Base Flood Elevation (BFE) or the Design Flood Elevation (DFE), whichever is higher. |  |  | 
Chemicals | Establish a method for safeguarding chemicals in your Preparedness and Mitigation Project Plan. |  |  | 
Below is a list of nonstructural mitigation activities that may require an engineer to identify and evaluate appropriate mitigation steps; however, the list below is not all-inclusive. For additional guidance on nonstructural risks, please see the Quick Reference Guide: SPACE in this program.
By performing all retrofit items, businesses and organizations will be eligible for recognition as a Ready Business – SPACE.

## Slide 21: Develop A Plan: SYSTEMS
NONSTRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Mechanical Systems | Consult a professional engineer to develop solutions for protecting vital systems through elevation, anchoring, or other approved means. |  |  | 
Fuel Tanks |  |  |  | 
Electrical Systems |  |  |  | 
Communications Equipment |  |  |  | 
Sewer and Water Management Systems |  |  |  | 
Potable Water Systems |  |  |  | 
Below is a list of nonstructural mitigation activities that may require an engineer to identify and evaluate appropriate mitigation steps; however, the list below is not all-inclusive. For additional guidance on nonstructural risks, please see the Quick Reference Guide: SYSTEMS in this program.
By performing all retrofit items, businesses and organizations will be eligible for recognition as a Ready Business – SYSTEMS.

## Slide 22: Develop A Plan: STRUCTURE
STRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Elevation | Consult a professional engineer to evaluate elevating your structure so that the top of the lowest floor is at or above the BFE. |  |  | 
Wet Floodproofing | Consult a professional engineer to evaluate options for wet floodproofing the structure. |  |  | 
Dry Floodproofing | Consult a professional engineer to evaluate options for dry floodproofing the structure. |  |  | 
Assessing structural and complex nonstructural risk requires the services of a structural engineer or other design professional to accurately evaluate and design reasonable mitigation measures. Below is a list of potential mitigation solutions; however, the list is not all-inclusive. For additional guidance on structural risks, please see the Quick Reference Guide: STRUCTURE in this program.
By performing a minimum of one retrofit item on this list, businesses and organizations will be eligible for recognition as a Ready Business – STRUCTURE.

## Slide 23: Develop A Plan: SERVICE
SERVICE ACTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Contact your Local Emergency Management Office |  |  | 
Identify Ways to Engage and Participate in Your Community |  |  | 
If your organization is open after the disaster, you could become a distributor or storage warehouse for Disaster Relief Kits. Providing a place for the supplies to be stored locally allows volunteer organizations to readily distribute them throughout affected areas. | Does your organization have electricity after the disaster? If so, you may want to become a volunteer charging station. Provide a safe, secure place for emergency responders, volunteers, and community members to charge their cell phones or battery powered tools. | Does your organization have the capability to prepare or serve meals? Providing a sanitary kitchen for emergency responders, volunteers, or community members to prepare or receive meals following a disaster is essential for rebuilding the community. | Not sure how your organization can directly contribute after the disaster? Volunteer. Contact your Local Emergency Manager and determine where the volunteer opportunities exist in the community. You could prepare meals, sort debris, or even work at a local office of a volunteer organization. For additional ideas, visit National Voluntary Organizations Active in Disaster.
Can your organization provide community service to others following a disaster? Identify and build local relationships to create a SERVICE component in your Business Continuity Plan. For additional guidance on the SERVICE component, please see the Quick Reference Guide: SERVICE in this program.
By performing all applicable preparedness activities in STAFF and mitigation actions in SURROUNDINGS, SPACE, SYSTEMS, and STRUCTURE, businesses and organizations will be eligible for recognition as a Ready Business – SERVICE.

## Slide 24: Quick Reference Guide: STAFF
PREPAREDNESS ACTION | PREPAREDNESS SOLUTIONS | PREPAREDNESS RESOURCES
STEP 1: Develop Business Continuity and Crisis Communications Plans | Create a Business Continuity Plan that includes strategies for storing critical business documents and data. | Business Continuity Plan
 | Consult the Disaster Resistant Business Toolkit. | Disaster Resistant Business (DRB) Toolkit
 | Assign a Business Continuity Team Leader responsible for implementing the Business Continuity Plan to bring your organization back to business after an event. | Business Continuity Plan
 | Create a Crisis Communications Plan that includes internal and external communication protocols for before, during, and after a disaster. | Crisis Communications

## Slide 25: Quick Reference Guide: STAFF (continued)
PREPAREDNESS ACTION | PREPAREDNESS SOLUTIONS | PREPAREDNESS RESOURCES
STEP 2: Conduct an Employee Awareness Campaign | Conduct an employee awareness campaign to educate staff on the safest response before, during, and after an event. The awareness campaign should include educating staff on the safest response before, during, and after a flood, including definitions of National Weather Service (NWS) terms, e.g., flood watch vs. flood warning. Address shelter locations, emergency communications plans and policies, when to evacuate (when advised), seeking high ground for flash flooding, and avoiding entering flood waters. The campaign should also provide guidance on critical actions after a flood event. Reference How to Prepare For A Flood for additional content. | FEMA. How to Prepare For A Flood. America’s PrepareAthon!
STEP 3: Develop an Employee Training Program | Develop a training program that provides activities for employee engagement before, during, and after a flood. Your training can be incorporated into established campaigns like National Preparedness Month and should focus on disaster preparedness and safety. Drills or exercises should be incorporated into the program. Include Turn Around, Don’t Drown! into your messaging. | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon! Turn Around And Don’t Drown!

## Slide 26: Quick Reference Guide: STAFF (continued)
PREPAREDNESS ACTION | PREPAREDNESS SOLUTIONS | PREPAREDNESS RESOURCES
STEP 4: Conduct an Employee Training Session | Hold a preparedness discussion with your staff. Discuss what you have done to prepare for disasters, review your Business Continuity Plan, review your Crisis Communications Plan, and share awareness campaign key messages. Use the Prepare Your Organization For A Flood Playbook to facilitate this discussion and engage your employees. The discussion should: Educate the employees about your business continuity and crisis communications plans; Include basic first aid and CPR training; and, Describe evacuation and shelter plans. | FEMA. How to Prepare For A Flood. America’s PrepareAthon!
STEP 5: Conduct a Flood Drill | Conduct your flood drill, but before you begin, contact your local emergency manager for additional ideas and to offer them a way to participate. | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon!

## Slide 27: Quick Reference Guide: STAFF (continued)
PREPAREDNESS ACTION | PREPAREDNESS SOLUTIONS | PREPAREDNESS RESOURCES
STEP 6: Review Insurance Coverage/ Create Inventory | Meet with your insurance agent annually to review your insurance, especially property coverage limits, deductibles, and coinsurance requirements. Maintain a current photo or video inventory of your premises, equipment, inventory, supplies, etc. | Insurance Coverage Discussion Form
ADDITIONAL ACTION: Develop an Employee Shelter/ Evacuation Plan and Include an Emergency Supply Kit | Develop an employee shelter/ evacuation plan to include an emergency kit with supplies you may need before, during, and/or after the disaster. | Emergency Supply List
ADDITIONAL ACTION: Purchase a NOAA Weather Radio for Monitoring During an Event/Download a Mobile Alerting App | Purchase a NOAA Weather Radio with single area message encoding (SAME) or download an alerting app for your mobile device. You may also sign up to receive emergency notifications from your local emergency services. Download Be Smart. Take Part. Know Your Alerts and Warnings for a summary of available notifications. Designate a Team Leader and assign them to monitor your NOAA Weather Radio during an event. Listen and heed instructions given by local emergency management officials. Have backup batteries and chargers. | NOAA Weather Radio All Hazards Be Smart. Take Part. Know Your Alerts and Warnings

## Slide 28: Quick Reference Guide: STAFF (continued)
RESOURCES:
FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon!
FEMA. How to Prepare For A Flood. America’s PrepareAthon!

## Slide 29: Quick Reference Guide: SURROUNDINGS
SURROUNDINGS RISKS | POTENTIAL MITIGATION SOLUTION | REFERENCES
Floodwalls and Levees | Consult a floodplain manager or professional engineer to develop a plan for your surroundings that mitigates against flood damage. | FEMA P-936, Floodproofing Non-Residential Buildings. FEMA P-259, Engineering Principles and Practices of Retrofitting Floodprone Residential Structures.

## Slide 30: Quick Reference Guide: SPACE
SPACE RISKS | POTENTIAL MITIGATION SOLUTION | REFERENCES
Mechanical Systems | Determine and relocate your critical contents at least one foot above the BFE or the DFE, whichever is higher. | FEMA P-936, Floodproofing Non-Residential Buildings.
Chemicals | Establish a method for safeguarding chemicals in your Preparedness and Mitigation Project Plan. | Emergency Response Plan

## Slide 31: Quick Reference Guide: SYSTEMS
SYSTEMS RISKS | POTENTIAL MITIGATION SOLUTION | REFERENCES
Mechanical Systems | Consult a professional to evaluate and design for the following flood mitigation techniques: Elevate service equipment at least 12” above BFE. Use platforms or pedestals for equipment installed on the ground. Relocate equipment to an existing location above the BFE. Protect the equipment in place with floodwalls, shields, or anchors and tie-downs. Protect drainage systems with backflow valves. Consult a licensed plumber for proper installation of these devices. | FEMA P-259, Engineering Principles and Practices of Retrofitting Floodprone Residential Structures. FEMA P-936, Floodproofing Non-Residential Buildings.
Fuel Tanks/Systems |  | 
Electrical Systems |  | 
Communications Systems |  | 
Sewer and Water Management Systems |  | 
Potable Water Systems |  | 

## Slide 32: Quick Reference Guide: STRUCTURE
STRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | REFERENCES
Elevation | Consult a professional engineer to evaluate elevating your structure so that the top of the lowest floor is at or above the BFE or DFE, whichever is higher. | FEMA P-550, Recommended Residential Construction for Coastal Areas: Building on Strong and Safe Foundations. FEMA P-312, Homeowner’s Guide to Retrofitting.
Wet Floodproofing | Wet floodproofing is a technique that allows flood waters to enter the structure. Consult a professional engineer to evaluate options for wet floodproofing the structure. Consider the following items when wet floodproofing: All materials used should be resistant to damage from flood waters. Wet floodproofing does not protect the structure from flowing water, erosion, scour, debris, or damage to contents. Post-flood clean-up should be considered before using wet floodproofing techniques. Installation of properly sized and placed wall openings, below the expected flood level. By allowing water to enter the structure, you may cause a secondary issue with protection of systems. Reference the SYSTEMS section to mitigate these items. | FEMA P-936, Floodproofing Non-Residential Buildings. FEMA P-259, Engineering Principles and Practices of Retrofitting Floodprone Residential Structures.
The International Code Council’s International Building Code (IBC) addresses construction methods for most commercial structures as well as residential structures that are not covered by the International Residential Code. The IBC contains both prescriptive and engineered provisions, and applies to the many different types of commercial structures.
It is important to note that the recommendations in this document are general, and are intended to highlight areas of a structure that could be strengthened against flooding. However, the recommendations cannot account for all of the different building types and variables in the IBC. As a result, a licensed professional is necessary to identify and perform building mitigation activity appropriate for your business or organization.

## Slide 33: Quick Reference Guide: STRUCTURE (continued)
STRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | REFERENCES
Dry Floodproofing | Dry floodproofing is a technique that prevents the entry of water into the structure. Dry floodproofing should only be considered in instances where the flood waters are expected to last a short duration and a depth of less than three feet. Because the walls are exposed to floodwaters and the pressures they exert, dry floodproofing is recommended only for structures with walls constructed of flood-resistant materials and flood depths are low. Consult a professional engineer to evaluate options for dry floodproofing the structure. Consider the following items when dry floodproofing: All exterior walls of the structure must be sealed and possibly reinforced. All openings below BFE must be permanently sealed or have enhanced flood shields installed. Protected from seepage. Anchoring of structure to resist floatation and lateral movement. Selecting and designing proper drainage systems to eliminate excess hydrostatic loads. Design watertight core areas to protect vital systems if dry floodproofing the entire structure is not possible. | FEMA P-936, Floodproofing Non-Residential Buildings. FEMA P-259, Engineering Principles and Practices of Retrofitting Floodprone Residential Structures.

## Slide 34: Quick Reference Guide: SERVICE
SERVICE ACTION | POTENTIAL MITIGATION SOLUTION | REFERENCES
Contact your Local Emergency Management Office | Contact your local emergency management office to identify emergency management personnel and resources in your area. | Emergency Management Agencies
 | Contact your local emergency management office during your disaster planning to learn how you may provide service(s) before and after a disaster strikes. Include this information in your Business Continuity Plan. | 
Identify Ways to Engage and Participate in your Community | In addition to preparing your organization, it is important to understand your local and tribal community emergency operations plans and to work with other organizations in your community or tribe. Opportunities to participate in whole community planning include the following: Learn about public-private partnerships. Participate in local or tribal organizations that make your community a safer and more prepared place to live and do business, such as your local Citizen Corps Council, hazard mitigation planning team, or local and tribal Community Emergency Response Team (CERT). Citizen Corps Council includes representatives from all sectors of the community. This whole community membership helps to ensure the community perspective is reflected in local emergency management practices. | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon!

## Slide 35: TAKE ACTION

## Slide 36: Take Action
Make sure that your Preparedness and Mitigation Project Plan is approved by the building owner if you are leasing or renting your building. Always check with your local building department to secure required permits prior to performing any retrofitting or other mitigation activity.
Perform preparedness and mitigation activities as prioritized in the Preparedness and Mitigation Project Plan. Document your preparedness and mitigation as instructed in the applications for STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, and SERVICE with signatures, photographs, receipts, or letters from a company manager, engineer, or design professional.
Complete the following application and submit for recognition as a Ready Business.
3

## Slide 37: Take Action: Ready Business Applications
PLEASE COMPLETE:
Organization Name:
Owner/Manager:
Address:
Phone Number: Fax:
Email:
Organization Website URL:
STAFF, SURROUNDINGS, SPACE, SYSTEMS, STRUCTURE, AND SERVICE APPLICATIONS
Now that you have taken the steps to prepare and mitigate your organization to protect customers and employees, you can gain recognition for your accomplishment by completing the application to join the Ready Business Community.
Once you join, you will receive a Ready Business recognition certificate, window cling, and web badge to let your customers and staff know that you are a Ready Business. Also, your organization will be added to the list of program participants on the Ready Business website. You will also receive a sample news release that you may use to let your community know that you have taken action to prepare.
Ready Business Designation Level (Please indicate each level you are applying for): | 
Ready Business – STAFF | Must complete steps one through six for STAFF recognition
Ready Business – SURROUNDINGS | Must complete all applicable SURROUNDINGS mitigation activities for recognition
Ready Business – SPACE | Must complete all applicable SPACE activities for recognition
Ready Business – SYSTEMS | Must complete all applicable SYSTEMS activities for recognition
Ready Business – STRUCTURE | Must complete one of the applicable STRUCTURE activities for recognition
Ready Business – SERVICE | Must complete all applicable SERVICE activities and STAFF, SURROUNDINGS, SPACE, SYSTEMS, and STRUCTURE for recognition
Provide documentation of preparedness actions and mitigation performed on the following pages.

## Slide 38: Take Action: Ready Business – STAFF Application
PREPAREDNESS ACTIONS | ACCOMPLISHED | INITIAL/DATE OF RESPONSIBLE PERSON
Developed Business Continuity and Crisis Communication Plans | Must be completed to receive recognition | 
Conducted an Employee Awareness Campaign | Must be completed to receive recognition | 
Developed an Employee Training Program | Must be completed to receive recognition | 
Conducted an Employee Training Session | Must be completed to receive recognition | 
Conducted a Flood Drill | Must be completed to receive recognition | 
Reviewed Insurance Coverage/Created Inventory | Must be completed to receive recognition | 
ADDITIONAL ACTION: Developed an Employee Shelter/Evacuation Plan and Included an Emergency Supply Kit | Yes No Not Applicable | 
ADDITIONAL ACTION: Purchased a NOAA Weather Radio for Monitoring During an Event/Downloaded a Mobile Alerting App | Yes No Not Applicable | 
1
2
3
4
5
6

## Slide 39: Take Action: Ready Business – SURROUNDINGS Application
SURROUNDINGS RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
Floodwalls and Levees | Consulted with a floodplain manager or professional engineer regarding land use or code restrictions/ requirements in your area. | Yes No Not Applicable | 

## Slide 40: Take Action: Ready Business – SPACE Application
SPACE RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
Contents | Determined and relocated all critical contents at least one foot above the BFE or DFE, whichever is higher. | Yes No Not Applicable | 
Chemicals | Established a method for safeguarding chemicals in your Preparedness and Mitigation Project Plan. | Yes No Not Applicable | 

## Slide 41: Take Action: Ready Business – SYSTEMS Application
NONSTRUCTURAL RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
Mechanical Systems | Consulted a professional engineer and modified all relevant systems and connections to resist expected flood load. | Yes No Not Applicable | 
Fuel Tanks |  | Yes No Not Applicable | 
Electrical Systems |  | Yes No Not Applicable | 
Communications Equipment |  | Yes No Not Applicable | 
Sewer and Water Management Systems |  | Yes No Not Applicable | 
Potable Water Systems |  | Yes No Not Applicable | 

## Slide 42: Take Action: Ready Business – STRUCTURE Application
STRUCTURAL RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
Elevation | Consulted a professional engineer to evaluate elevation of the structure. | Yes No Not Applicable | 
Wet Floodproofing | Consulted a professional engineer to evaluate options for wet floodproofing the structure. | Yes No Not Applicable | 
Dry Floodproofing | Consulted a professional engineer to evaluate options for dry floodproofing the structure. | Yes No Not Applicable | 

## Slide 43: Take Action: Ready Business – SERVICE Application
SERVICE ACTION | SERVICESOLUTION | INITIAL/DATE OF RESPONSIBLE PERSON
Contacted your Local Emergency Management Office | These activities are written into your Business Continuity Plan. | 
Identified Ways to Engage and Participate in your Community | These activities are written into your Business Continuity Plan. | 

## Slide 44: Feedback
Tell us about yourself and your organization.
1. TYPE OF ORGANIZATION?
Retail
Professional Office
Restaurant
Service Provider
Nonprofit
Industrial
Daycare Center/School
Other, please list
3. HOW DID YOU HEAR ABOUT THE READY BUSINESS PROGRAM?
Local Fire Department
From another organization
Online
FEMA
State or local emergency management office
Other, please list
2. HOW MANY PEOPLE DO YOU EMPLOY?
1 - 9
10 - 24
25 - 49
50 - 99
100 - 249
250 - 499
500 or more
4. WHAT ELSE WOULD YOU LIKE TO SEE IN THE READY BUSINESS PROGRAM?
Thank you for your participation in the Ready Business Program. You will receive a response to your application within two to four weeks. For more information or if you have questions about the program or application, contact FLASH at (877) 221-7233 or email info@flash.org.
For business continuity and preparedness questions, please contact FEMA at FEMA-Private-Sector@fema.dhs.gov.
Signature Print Name Date

## Slide 45: Valuable Websites
AMERICA’S PREPAREATHON! https://www.ready.gov/prepare
FLASH http://www.flash.org
Ready Floods https://www.ready.gov/floods
Ready Business http://www.ready.gov/business

## Slide 46: APPENDIX A | Acronyms and Glossary
B | 
Base Flood | Flood that has a one percent probability of being equaled or exceeded in any year.
Base Flood Elevations (BFE) | The computed elevation to which floodwater is anticipated to rise during the base flood. BFEs are shown on Flood Insurance Rate Maps (FIRMs) and on the flood profiles. The BFE is the regulatory requirement for the elevation or floodproofing of structures. The relationship between the BFE and a structure’s elevation determines the flood insurance premium.
C | 
Check Valve | Valve that allows water to flow in one direction, but automatically closes when the direction of flow is reversed.
Coastal Flooding | Flooding which occurs when water is driven onto land from an adjacent body of water. This generally occurs when there are significant storms, such as tropical and extratropical cyclones.
D | 
Debris | Materials carried by floodwaters, including objects of various size and suspended soils.
Design Flood Elevation (DFE) | Elevation of the highest flood, including freeboard, that a retrofitting method is intended to protect against.
Dry Floodproofing | Protecting a building by sealing its exterior walls to prevent the entry of floodwaters.
E | 
Elevation | In retrofitting, the process of raising a home or other building so that it is above the height of a given flood.
F | 
Flash Flood | A flood that rises and falls very quickly, usually characterized by high flow velocities.
Flood | Under the NFIP, “a general and temporary condition of partial or complete inundation of normally dry land areas” from 1) the overland flow of a lake, river, stream, ditch, etc.; 2) the unusual and rapid accumulation of runoff of surface waters; and 3) mudflows or the sudden collapse of shoreline land.

## Slide 47: APPENDIX A | Acronyms and Glossary
F | 
Floodproofing | Structural or nonstructural changes or adjustments included in the design, construction, or alteration of a building that reduce damage to the building and its contents from flooding and erosion.
Floodwall | Flood barrier constructed of manmade materials, such as concrete or masonry.
Freeboard | Additional amount of height included in the DFE to provide a factor of safety.
H | 
Hydrostatic Pressure | Force exerted on the walls and uplift (buoyancy) on floors by the floodwaters.
I | 
Inland Flooding | Any type of flooding that occurs that is not considered coastal flooding. For example flash floods, riverine floods, aerial flooding, etc.
L | 
Levee | Flood barrier constructed of compacted soil.
Lowest Floor | Floor of the lowest enclosed area within the building, including the basement. The only exception is an enclosed area below an elevated building, but only when the enclosed area is used solely for parking, building access, or storage and is compliant with relevant regulations.
R | 
Retrofitting | Making changes to an existing home or other building to protect it from flooding or other hazards such as high winds and earthquakes.
S | 
Service Equipment | The utility systems, heating and cooling systems, and large appliances in a retrofitted home.
W | 
Wet Floodproofing | Protecting a building by allowing floodwaters to enter so that internal and external hydrostatic pressure are equalized. Usually, only enclosed areas used for parking, building access, or storage are wet floodproofed.

## Slide 48: APPENDIX B
PAGE # | TITLE OF DOCUMENT | LINK
3 | FEMA. Business Continuity Plan. Ready Business | www.fema.gov/media-library/assets/documents/89510
4 | FLASH email | info@flash.org
14 | FloodSmart | www.floodsmart.gov
19 | National Voluntary Organizations Active in Disaster | www.nvoad.org/how-to-help/volunteering
20 | FEMA. Business Continuity Plan. Ready Business | www.fema.gov/media-library/assets/documents/89510
20 | DRB Toolkit | www.drbtoolkit.org
20 | FEMA. Business Continuity Plan. Ready Business | www.fema.gov/media-library/assets/documents/89510
20 | Small Business Administration. Crisis Communication. | www.agilityrecovery.com/assets/SBA/crisiscomms.pdf
21 | FEMA. How to Prepare For A Flood. America’s PrepareAthon! | www.fema.gov/media-library/assets/documents/98102
21 | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon! | www.fema.gov/media-library/assets/documents/98407
21 | Turn Around, Don’t Drown! | tadd.weather.gov/
22 | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon! | www.fema.gov/media-library/assets/documents/98407
23 | FEMA. Insurance Coverage Discussion Form. | www.fema.gov/media-library/assets/documents/89528
23 | FEMA. Emergency Supply List | www.fema.gov/media-library/assets/documents/90354
23 | NOAA. Weather Radio All Hazards | www.nws.noaa.gov/nwr/
23 | Be Smart. Take Part. Know Your Alerts and Warnings. | www.community.fema.gov/action/access-alerts-andwarnings
24 | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon! | www.fema.gov/media-library/assets/documents/98407
24 | FEMA. How to Prepare For A Flood. America’s PrepareAthon! | www.fema.gov/media-library/assets/documents/98102
25 | FEMA P-936, Floodproofing Non-Residential Buildings | www.fema.gov/media-library/assets/documents/34270
25 | FEMA P-259, Engineering Principals and Practices of Retrofitting Floodprone Residential Structures, Third Edition (2012) | www.fema.gov/media-library/assets/documents/3001
26 | FEMA P-936, Floodproofing Non-Residential Buildings | www.fema.gov/media-library/assets/documents/34270
26 | FEMA. Emergency Response Plan. Ready Business. | www.ready.gov/business/implementation/emergency
27 | FEMA P-259, Engineering Principals and Practices of Retrofitting Floodprone Residential Structures, Third Edition (2012) | www.fema.gov/media-library/assets/documents/3001
The following is a list of websites and content referenced in this document.

## Slide 49: APPENDIX B
PAGE # | TITLE OF DOCUMENT | LINK
27 | FEMA P-936, Floodproofing Non-Residential Buildings | www.fema.gov/media-library/assets/documents/34270
28 | FEMA P-550, Recommended Residential Construction for Coastal Areas: Building on Strong and Safe Foundations (2009) | www.fema.gov/es/media-library/assets/ documents/3972
28 | FEMA P-312, Homeowner's Guide to Retrofitting, Third Edition (2014) | www.fema.gov/media-library/assets/documents/480
28 | FEMA P-936, Floodproofing Non-Residential Buildings | www.fema.gov/media-library/assets/documents/34270
28 | FEMA P-259, Engineering Principals and Practices of Retrofitting Floodprone Residential Structures, Third Edition (2012) | www.fema.gov/media-library/assets/documents/3001
29 | FEMA P-936, Floodproofing Non-Residential Buildings | www.fema.gov/media-library/assets/documents/34270
29 | FEMA P-259, Engineering Principals and Practices of Retrofitting Floodprone Residential Structures, Third Edition (2012) | www.fema.gov/media-library/assets/documents/3001
30 | FEMA. Emergency Management Agencies | www.fema.gov/emergency-management-agencies
30 | FEMA. Prepare Your Organization For A Flood Playbook. America’s PrepareAthon! | www.fema.gov/media-library/assets/documents/98407
39 | FLASH email | info@flash.org
39 | FEMA Private Sector Division email | FEMA-Private-Sector@fema.dhs.gov
The following is a list of websites and content referenced in this document (continued).

## Slide 50: NOTES