## Slide 1
Preparedness Workshop
PROGRAM OUTLINE

## Slide 2: Program Overview
Organizations have five options for recognition through the QuakeSmart Community Resilience Program. These levels can be achieved either independently or as a group and include STAFF, SPACE, SYSTEMS, STRUCTURE, and SERVICE. SERVICE recognition is achieved by completing STAFF, SPACE, SYSTEMS, and STRUCTURE levels in addition to the SERVICE requirements.
STAFF includes planning and preparedness activities for the protection of your staff.
SPACE includes the contents of your workspace such as furniture, computers or equipment, tall shelving, filing cabinets, hanging artwork, and freestanding partitions.
SYSTEMS include utility systems and nonstructural architectural elements, e.g., air compressors, built-in partitions, propane tanks, fuel tanks, suspended ceilings, suspended space heaters, water heaters, windows, and automatic fire sprinkler systems.
STRUCTURE includes architectural and structural elements of the building, especially construction types that may be vulnerable to collapse or failure during an earthquake such as concrete tilt-up, improperly welded steel frame, unreinforced masonry concrete, unreinforced concrete, or unreinforced soft story construction. The STRUCTURE recognition level also includes the building façade to help identify unreinforced or unanchored brick or exterior architectural elements.
SERVICE includes opportunities for your organization to engage and serve the community following an event.
It is important to remember that injury, damage, concurrent damage, cascading disasters like fire following the earthquake, business interruption, or even increased repair or recovery costs can come from failure to prepare or mitigate. As a result, the first step in the QuakeSmart Community Resilience Program is to complete a Back-to-Business Self-Assessment to identify vulnerabilities from any source.
The Program is intended to be used along with the QuakeSmart Toolkit (FEMA P-811) as a means to recognize and reward organizations who undertake mitigation to protect employees, customers, and continuity. Organizations may apply for one or more recognition levels. Follow the steps provided or contact info@flash.org or (877) 221-7233 to get started today.

## Slide 3: Applying for Recognition
The Benefits of Participating in the Program
Peace of mind that your organization is prepared not only for earthquakes, but for other business interruptions or natural disasters.
QuakeSmart® Resilient Community Member window cling to announce to your customers or clients and employees that you have taken action to prepare and/or mitigate your STAFF, SPACE, SYSTEMS, STRUCTURE, and to be of SERVICE after an event.
QuakeSmart Resilient Community Member recognition certificate.
QuakeSmart Resilient Community Member web badge to display on your organization’s website.
Organization Listing on QuakeSmartCommunity.org
Sample news release to announce your organization’s participation in the QuakeSmart Community Resilience Program and tips for media placement.

## Slide 4: Why Should Business and Organizations Care About Earthquake Risk?
Most of the United States is at some risk for earthquakes, and it is important that organizations (businesses, community groups, associations, etc.) understand the potential impacts. Developing a Preparedness and Mitigation Project Plan and taking action protects employees, customers, and business continuity.
NATURAL DISASTER IMPACT |  | 
IMMEDIATE 40% OF SMALL BUSINESSES WON’T REOPEN | ONE YEAR LATER 25% MORE SMALL BUSINESSES WILL CLOSE | THREE YEARS LATER 75% OF BUSINESSES WITHOUT A CONTINUITY PLAN WILL FAIL
THE AVERAGE DAILY LOSS OF A BUSINESS THAT CLOSES DUE TO DISASTER | 
$3,000 SMALL BUSINESS | $23,000 MEDIUM-SIZED BUSINESS
WHY IS THIS IMPORTANT?
SMALL BUSINESSES | 
ACCOUNT FOR 99% OF ALL COMPANIES | EMPLOY 50% OF ALL PRIVATE SECTOR EMPLOYEES
Source: 2014 data from the Federal Emergency Management Agency and US Department of Labor.

## Slide 5: Three Steps to Preparedness & Mitigation
IDENTIFY YOUR RISK
Complete the Back-to-Business Self-Assessment to determine the specific areas your business needs to address to prepare, mitigate risk and return to operation following a disaster (p. 20).
DEVELOP A PLAN
Based on the information in the Back-to-Business Self-Assessment, complete the QuakeSmart® Preparedness and Mitigation Project Plan for STAFF, SPACE, SYSTEMS, STRUCTURE, and SERVICE to identify preparedness and mitigation actions needed to ensure safety and business continuity. Completing this plan will bring you one step closer to recognition as a QuakeSmart Resilient Community Member.
Review the QuakeSmart Quick Reference Guide* to determine which preparedness and mitigation actions you want to take based on potential impacts to your business.
Use the Cost Assessment Worksheet* to estimate the costs of mitigation.
* These resources found in the QuakeSmart Community Resilience Program at quakesmartcommunity.org.
TAKE ACTION
Make sure that your Preparedness and Mitigation Project Plan is fully approved by the building owner if you are leasing the building. Always check with your local building official prior to any mitigation activities.
Perform preparedness and mitigation activities as prioritized in the Preparedness and Mitigation Project Plan. Document your actions as instructed in the application for STAFF, SPACE, SYSTEMS, STRUCTURE, and SERVICE with photographs, receipts or letters from a manager, engineer or design professional, where applicable. Complete the application at the end of this packet for recognition as a QuakeSmart Resilient Community Member.
1
2
3

## Slide 6: Design Questions
Why is important for the local economy for businesses to conduct business continuity planning and to implement preparedness and mitigation planning?
What are the benefits of participation in the QuakeSmart Program to your business?
What concerns you most… people, operations, or nonstructural/structural mitigation?

## Slide 7: Design Questions
What did you learn from the risk presentation that surprised you?
List any statistics or risk factors that will help make the case for taking action to management.

## Slide 8: Design Questions
Now that you know the likely response times following an earthquake, what steps will you take to ensure the safety of your employees and customers immediately following an earthquake?
What surprised you most about the response presentation?
Do you have a relationship with your local emergency manager and if not, are you more likely to develop one now?

## Slide 9: Identify Your Risk

## Slide 10: Identify Your Risk: Back-to-Business Self-Assessment
PLANNING SCENARIO
On December 1 of this year, an earthquake strikes your community and damages both the structure and the contents in the building where your organization operates. Due to damage, your building has been ‘yellow tagged’ during a rapid assessment by the building department and is closed. A more thorough assessment of your building damage is needed to determine if your structure is safe, or can be made safe, prior to reopening.
Due to the number of buildings damaged in your community, your building’s detailed damage assessment will take place three days after the earthquake. You should assume you will not be able to access your facilities for at least three days.
Depending on your type of organization, expect that either 50 percent of your inventory (product) is unsellable, or that 50 percent of your computers or other equipment was damaged during the earthquake (choose whichever creates the greater impact on your organization). Assume that all utilities are interrupted.
Further, you should project that the disruptions will continue for one additional day. The assessment will show that the damage is repairable to the structure, so now you will need to address contents cleanup, repairs, and replacement.
Based on this scenario, complete the 13 questions on the following pages to identify your risk.

## Slide 11: Identify Your Risk: Back-to-Business Self-Assessment
ASSESS YOUR READINESS
Based on the planning scenario, complete the 13 questions below to highlight some areas your QuakeSmart Preparedness and Mitigation Project Plan and Business Continuity Plan should address.
IMPACTS ON YOUR ORGANIZATION |  | RESOURCES THAT CAN HELP MINIMIZE DAMAGE, DISRUPTIONS, AND INJURIES
SPACE/SYSTEMS/STRUCTURE |  | 
Can your organization operate without any of the following: computers, copier, fax machine, files, inventory, or special equipment (e.g., x-ray equipment, cash register, credit card readers)? | Yes No | QuakeSmart Community Resilience Program – SPACE
Can your organization operate without any of the following: gas, power, water, internet, or telecommunications? | Yes No | QuakeSmart Community Resilience Program – SYSTEMS
Can you still operate your organization without access to the damaged building? | Yes No | QuakeSmart Community Resilience Program – STRUCTURE
STAFF/CUSTOMERS/VENDORS/SUPPLIERS (PEOPLE) |  | 
Can you pay your employees without business income? | Yes No | Business Continuity Plan – PEOPLE
Are your employees able to commute to work? | Yes No | Business Continuity Plan – PEOPLE
IMPACT ON YOUR ORGANIZATION |  | 
Is your organization easily accessible to the public, your customers, and employees (e.g., parking)? | Yes No | Business Continuity Plan – PEOPLE
Are you communicating status with employees, key customers, vendors, and suppliers throughout your recovery? | Yes No | Business Continuity Plan – PEOPLE

## Slide 12: Identify Your Risk: Back-to-Business Self-Assessment
IMPACTS ON YOUR ORGANIZATION |  | RESOURCES THAT CAN HELP MINIMIZE DAMAGE, DISRUPTIONS, AND INJURIES
OPERATIONS |  | 
If you can’t operate the organization without access to the damaged building, will you need to relocate? | Yes No | Business Continuity Plan – OPERATIONS
Have you set priorities on what operations your organization needs to recover 1st, 2nd, 3rd, etc.? | Yes No | Business Continuity Plan – OPERATIONS
Are your suppliers up and running or do you have sufficient parts/supplies on hand to continue without resupply? | Yes No | Business Continuity Plan – OPERATIONS
Are you able to ship your product or provide services out to your customers based on your current impacts? | Yes No | Business Continuity Plan – OPERATIONS
Do you still have all your customers/clients after the disaster? | Yes No | Business Continuity Plan – OPERATIONS
OVERALL OPERATIONS |  | 
Will your losses be too much for your organization to survive if it is closed/inaccessible for at least 3 - 7 days? | Yes No | QuakeSmart Community Resilience Program & Business Continuity Plan
For each question, 1 - 13, that you answered ‘No’, address the specific issue in the QuakeSmart Preparedness and Mitigation Project Plan, or in your Business Continuity Plan. The QuakeSmart Community Resilience Program has many resources that will assist in determining, as well as addressing, how to reduce the potential for damage to buildings and contents. There are many business continuity planning tools available, and a few resources are listed below. |  | 
RESOURCES
QuakeSmart Toolkit (FEMA P-811), www.fema.gov/quakesmart
DRB Toolkit (Use coupon code at checkout: quakesmart), http://www.DRBToolKit.org
FEMA Business Continuity Plan, http://www.fema.gov/media-library/assets/documents/89510
Seven Steps to an Earthquake Resilient Business, http://www.earthquakecountry.org/roots/7StepsBusiness2008.pdf

## Slide 13: Design Questions
What changes do you intend to recommend/make based on the potential impacts to your business of the scenario discussed?
Complete questions 1 - 13 of the Back to Business Assessment on p. 20.

## Slide 14: STAFF
POTENTIAL PREPAREDNESS ACTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Develop Business Continuity and Crisis Communications Plan |  |  | 
Conduct an Employee Awareness Campaign |  |  | 
Develop an Employee Training Program |  |  | 
Conduct an Employee Training Session |  |  | 
Register for the Great ShakeOut and Conduct an Earthquake Drill |  |  | 
ADDITIONAL ACTION: Build an Emergency Supply Kit |  |  | 
ADDITIONAL ACTION: Purchase a NOAA Weather Radio for Monitoring During an Event/Download a Mobile Alerting App |  |  | 
ADDITIONAL ACTION: Review Insurance Coverage/Create Inventory |  |  | 
1
2
3
4
5
These are preparedness measures your organization can take to ensure your staff is properly prepared to handle an earthquake; however, the list below is not all-inclusive. By performing steps one through five, organizations will be eligible for recognition as a QuakeSmart – STAFF Resilient Community Member. The additional actions are recommended, but not required, for recognition.

## Slide 15: Design Questions
Are there unique consideration for your business in undertaking preparedness activities on the STAFF checklist?
What additional community resources or new partnerships will assist you in preparing your business for disaster?

## Slide 16: SPACE
NONSTRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
DIY ACTIVITIES |  |  |  | 
Computers | Strap or Velcro® monitor/ laptop to desk, latch desktop to desk |  |  | 
Tall Shelving | Attach to wall with brackets or flexible fasteners |  |  | 
Library Stacks | Brace to floor, install guards for books |  |  | 
Tall File Cabinets | Secure to wall, install cabinet latches to drawers |  |  | 
Drawers and Cabinets | Install latches to drawers and cabinets |  |  | 
Compressed-Gas Cylinders | Attach to wall with chains or braces |  |  | 
Hazardous Materials | Remove from business area |  |  | 
Fragile Artwork | Secure to walls with screws and to tables with putty |  |  | 
Freestanding Half-Height Partitions | Brace/Secure to floor |  |  | 
Miscellaneous Furniture/ Fixtures | Restrain/Secure ceiling fans and lights with safety cables |  |  | 
These are nonstructural earthquake mitigation activities that can be completed by someone with common tools and readily available materials; however, the list below is not all-inclusive. For additional guidance on nonstructural risks, please see the Quick Reference Guide: SPACE in this program.
By performing all applicable Do-It-Yourself (DIY) activities, organizations will be eligible for recognition as QuakeSmart – SPACE Resilient Community Member.

## Slide 17: Design Questions
List items that you see as a priority for immediate mitigation.
List any questions that you would like to follow up with presenter or engineer following the session.

## Slide 18: SYSTEMS
NONSTRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
DIY ACTIVITIES |  |  |  | 
Built-In Partitions (Walls) | Bolt to structure |  |  | 
Water Heater | Strap—wrap 1 1/2 times, bolt to studs |  |  | 
Windows | Install protective film covering |  |  | 
POTENTIAL DIY OR REPAIRPERSON |  |  |  | 
Suspended Light Fixtures | Anchor and brace |  |  | 
Suspended T-Bar Ceilings | Anchor and brace |  |  | 
Use the Cost Estimation Worksheet to estimate the approximate cost of mitigation. |  |  |  | 
The activities below include nonstructural earthquake mitigation activities that can be completed with common tools and readily available materials, as well as activities that may require an engineer to evaluate steps provided for mitigation; however, the list below is not all inclusive. For additional guidance on nonstructural risks, please see the Quick Reference Guide: SYSTEMS in this program.
By performing all applicable DIY activities and two potential DIY or repairperson activities or one professional activity, organizations will be eligible for recognition as a QuakeSmart – SYSTEMS Resilient Community Member.

## Slide 19: SYSTEMS (continued)
NONSTRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
PROFESSIONAL SERVICES REQUIRED |  |  |  | 
Freestanding Walls or Fences | Reinforce |  |  | 
Exterior Signs | Reinforce/bolt to building |  |  | 
Exterior Veneer | Properly anchor/adhere |  |  | 
Roof Parapets | Reinforce, bolt to roof |  |  | 
Air Compressor | Anchor |  |  | 
Propane/Fuel Tank | Bolt, secure in place |  |  | 
Suspended Space Heater | Anchor and brace |  |  | 
Automatic Fire Sprinkler Piping and Heads | Anchor and brace |  |  | 
HVAC Equipment and Ducts | Anchor |  |  | 
Piping | Attach and brace, especially between floors |  |  | 
Stairways | Install sliding connections, enclosure materials |  |  | 
Use the Cost Estimation Worksheet to estimate the approximate cost of mitigation. |  |  |  | 

## Slide 20: STRUCTURE
STRUCTURAL RISKS | POTENTIAL MITIGATION SOLUTION | ASSIGNED TO | BUDGET | COMPLETION DATE
PROFESSIONAL SERVICE REQUIRED |  |  |  | 
Concrete Tilt-Up Construction without Anchored Roof System | Anchor roof system to walls |  |  | 
Unreinforced Cripple Walls | Reinforce cripple walls |  |  | 
Unreinforced Concrete Construction | Reinforce concrete construction |  |  | 
Unreinforced Masonry | Reinforce masonry construction |  |  | 
Unreinforced Soft Story Construction | Reinforce soft story construction |  |  | 
Unreinforced or Unanchored Brick Elements in Building or Façade | Reinforce or anchor brick elements in building structure or façade |  |  | 
Walls Not Bolted to Foundation | Bolt walls to foundation |  |  | 
Use the Cost Estimation Worksheet to estimate the approximate cost of mitigation. |  |  |  | 
Assessing structural risk and more complex nonstructural risk requires the services of a structural engineer or other design professional to accurately evaluate and design reasonable mitigation measures; however, the following list is not all inclusive. For additional guidance on structural risks, please see the Quick Reference Guide: STRUCTURE in this program.
By performing one retrofit item at a minimum, organizations will be eligible for recognition as a QuakeSmart – STRUCTURE Resilient Community Member

## Slide 21: SERVICE
POTENTIAL SERVICE ACTION | ASSIGNED TO | BUDGET | COMPLETION DATE
Contact your Local Emergency Management Office |  |  | 
Identify Ways to Engage and Participate in Your Community |  |  | 
If your organization is open after the disaster, you could become a distributor or storage warehouse for Disaster Relief Kits. Providing a place for the supplies to be stored locally allows volunteer organizations to readily distribute them throughout affected areas. | Does your organization have electricity after the disaster? If so, you may want to become a volunteer charging station. Provide a safe, secure place for emergency responders, volunteers, and community members to charge their cell phones or battery powered tools. | Does your organization have the capability to prepare or serve meals? Providing a sanitary kitchen for emergency responders, volunteers, or community members to prepare or receive meals following a disaster is essential for rebuilding the community | Not sure how your organization can directly contribute after the disaster? Volunteer. Contact your Local Emergency Manager and determine where the volunteer opportunities exist in the community. You could prepare meals, sort debris, or even work at a local office of a volunteer organization. For additional ideas, visit National Voluntary Organizations Active in Disaster
Can your organization provide service to others following a disaster? If you are interested, use the following contacts to include a SERVICE component in your Business Continuity Planning. For additional guidance on the service component, please see the Quick Reference Guide: SERVICE in this program.
By performing all applicable preparedness activities in STAFF and mitigation actions in SPACE, SYSTEMS, and STRUCTURE, organizations will be eligible for recognition as a QuakeSmart – SERVICE Resilient Community Member by completing the following actions.

## Slide 22: Take Action

## Slide 23: Take Action
Make sure that your Preparedness and Mitigation Project Plan is fully approved by the building owner if you are leasing your building. Always check with your local building official prior to any mitigation activity. You should also ask if your building has a U.S. Resiliency Council Building Rating.
Perform preparedness and mitigation activities as prioritized in the Preparedness and Mitigation Project Plan. Document your actions as instructed in the applications for STAFF, SPACE, SYSTEMS, STRUCTURE, and SERVICE with signatures, photographs, receipts, or letters from a manager, engineer, or design professional, where applicable.
Complete the application and submit to be recognized as a QuakeSmart Resilient Community Member.

## Slide 24: Take Action: QuakeSmart Applications
PLEASE COMPLETE:
Organization Name:
Owner/Manager:
Address:
Phone Number: Fax:
Email:
Organization Website URL:
STAFF, SPACE, SYSTEMS, STRUCTURE, and SERVICE Applications
Now that you have taken the steps to prepare and mitigate your organization to protect customers and employees, you can gain recognition for your accomplishment by completing the application to join the QuakeSmart Community. You will receive a QuakeSmart Resilient Community Member recognition certificate, window cling, and web badge to let your customers and staff know that you are a QuakeSmart organization, and your organization will be added to the list of program participants at www.quakesmartcommunity.org. You will also receive a sample news release that you may use to let your community know that you have taken action to prepare.
QuakeSmart Designation Level (Please indicate each level you are applying for): | 
QuakeSmart STAFF | Must complete Steps 1 - 5 STAFF preparedness activities for recognition
QuakeSmart SPACE | Must complete all applicable SPACE mitigation activities for recognition
QuakeSmart SYSTEMS | Must complete all applicable SYSTEMS DIY activities and two potential DIY or repairperson activities or one professional activity
QuakeSmart STRUCTURE | Must complete one of the applicable STRUCTURE activities for recognition
QuakeSmart SERVICE | Must complete all applicable SERVICE activities and STAFF, SPACE, SYSTEMS, and STRUCTURE for recognition
Provide documentation of preparedness actions and mitigation performed on the following pages.

## Slide 25: Take Action: QuakeSmart Staff Application
PREPAREDNESS ACTIONS | ACCOMPLISHED | INITIALS | DATE
Developed Business Continuity and Crisis Communications Plan | Must be completed to receive recognition |  | 
Conducted an Employee Awareness Campaign | Must be completed to receive recognition |  | 
Developed an Employee Training Program | Must be completed to receive recognition |  | 
Conducted an Employee Training Session | Must be completed to receive recognition |  | 
Registered for the Great ShakeOut and Conducted an Earthquake Drill | Must be completed to receive recognition |  | 
ADDITIONAL ACTION: Built an Emergency Supply Kit | Yes No Not Applicable |  | 
ADDITIONAL ACTION: Purchased a NOAA Weather Radio for Monitoring During an Event/Downloaded a Mobile Alerting App | Yes No Not Applicable |  | 
ADDITIONAL ACTION: Reviewed Insurance Coverage/ Created Inventory | Yes No Not Applicable |  | 
1
2
3
4
5

## Slide 26: Take Action: QuakeSmart Space Application
NONSTRUCTURAL RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
DIY ACTIVITIES |  |  | 
Computers | Strapped or Velcro® monitor/laptop to desk, latch desktop to desk | Yes No Not Applicable | 
Tall Shelving | Attached to wall with brackets or flexible fasteners | Yes No Not Applicable | 
Library Stacks | Braced to floor, install guards for books | Yes No Not Applicable | 
Tall File Cabinets | Secured to wall, install cabinet latches to drawers | Yes No Not Applicable | 
Drawers and Cabinets | Installed latches to drawers and cabinets | Yes No Not Applicable | 
Compressed-Gas Cylinders | Attached to wall with chains or braces | Yes No Not Applicable | 
Hazardous Materials | Removed from business area | Yes No Not Applicable | 
Fragile Artwork | Secured to walls with screws and to tables with putty | Yes No Not Applicable | 
Freestanding Half-Height Partitions | Braced/Secured to floor | Yes No Not Applicable | 
Miscellaneous Furniture/ Fixtures | Restrained/Secured ceiling fans and lights with safety cables | Yes No Not Applicable | 

## Slide 27: Take Action: QuakeSmart Systems Application
NONSTRUCTURAL RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
DIY ACTIVITIES |  |  | 
Built-In Partitions (Walls) | Bolted to structure | Yes No Not Applicable | 
Water Heater | Strapped—wrapped 1 1/2 times, bolted to studs | Yes No Not Applicable | 
Windows | Installed protective film covering | Yes No Not Applicable | 
POTENTIAL DIY OR REPAIRPERSON |  |  | 
Suspended Light Fixtures | Anchored and braced | Yes No Not Applicable | 
Suspended T-Bar Ceilings | Anchored and braced | Yes No Not Applicable | 
PROFESSIONAL SERVICES REQUIRED |  |  | 
Freestanding Walls or Fences | Reinforced | Yes No Not Applicable | 
Exterior Signs | Reinforced/bolted to building | Yes No Not Applicable | 
Exterior Veneer | Properly anchored/adhered | Yes No Not Applicable | 
Roof Parapets | Reinforced, bolted to roof | Yes No Not Applicable | 

## Slide 28: Take Action: QuakeSmart Systems Application
NONSTRUCTURAL RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT PHOTO OR RECEIPT
PROFESSIONAL SERVICES REQUIRED |  |  | 
Air Compressor | Anchored | Yes No Not Applicable | 
Propane/Fuel Tank | Bolted, secured in place | Yes No Not Applicable | 
Suspended Space Heater | Anchored and braced | Yes No Not Applicable | 
Automatic Fire Sprinkler Piping and Heads | Anchored and braced | Yes No Not Applicable | 
HVAC Equipment and Ducts | Anchored | Yes No Not Applicable | 
Piping | Attached and braced, especially between floors | Yes No Not Applicable | 
Stairways | Installed sliding connections, enclosure materials | Yes No Not Applicable | 

## Slide 29: Take Action: QuakeSmart Structure Application
STRUCTURAL RISKS | MITIGATION SOLUTION | ACCOMPLISHED | INSERT DOCUMENTATION
PROFESSIONAL SERVICE REQUIRED |  |  | 
Concrete Tilt-Up Construction without Anchored Roof System | Anchored roof system to walls | Yes No Not Applicable | 
Unreinforced Masonry | Reinforced masonry construction | Yes No Not Applicable | 
Unreinforced Concrete Construction | Reinforced concrete construction | Yes No Not Applicable | 
Walls Not Bolted to Foundation | Walls bolted to foundation | Yes No Not Applicable | 
Unreinforced Soft Story Construction | Reinforced soft story construction | Yes No Not Applicable | 
Unreinforced or Unanchored Brick Elements in Building or Façade | Reinforced or anchor brick elements in building structure or façade | Yes No Not Applicable | 
Unreinforced Cripple Walls | Reinforced cripple walls, if needed | Yes No Not Applicable | 

## Slide 30: Take Action: QuakeSmart Service Application
SERVICE ACTION | SERVICE SOLUTION | INITIALS | DATE
Contacted your Local Emergency Management Office | These activities are written into your Business Continuity Plan |  | 
Identified Ways to Engage and Participate in Your Community | These activities are written into your Business Continuity Plan |  | 

## Slide 31: Feedback
Tell us about yourself and your organization.
1. TYPE OF ORGANIZATION?
Retail
Professional Office
Restaurant
Service Provider
Nonprofit
Industrial
Daycare Center/School
Other, please list
3. HOW DID YOU HEAR ABOUT THE QUAKESMART PROGRAM?
Local Fire Department
From another organization
Online
Great ShakeOut
FEMA
State or local emergency management office
Other, please list
2. HOW MANY PEOPLE DO YOU EMPLOY?
1 - 9
10 - 24
25 - 49
50 - 99
100 - 249
250 - 499
500 or more
4. DOES YOUR ORGANIZATION PARTICIPATE IN THE GREAT SHAKEOUT EARTHQUAKE DRILLS?
Yes
No
5. WHAT ELSE WOULD YOU LIKE TO SEE IN THE QUAKESMART COMMUNITY RESILIENCE PROGRAM?
Thank you for your participation in the QuakeSmart Community Resilience Program. You will receive a response to your application within 2 - 4 weeks.
For questions about the program or application, contact FLASH at (877) 221-7233 or email info@flash.org. Once you have completed the application(s), please scan and email to info@flash.org.
Signature Print Name Date

## Slide 32: Reviewers & Contributors
Mark Bentien Southern California Earthquake Center (SCEC), Earthquake Country Alliance (ECA)
Leslie Chapman-Henderson Federal Alliance for Safe Homes (FLASH)®
Barbara Harrison FLASH
Ed Laatsch Federal Emergency Management Agency (FEMA) Building Science Branch
Kate Long California Office of Emergency Management (Cal OES)
Carmen Mackey Los Angeles County Fire Department (LACo)
Janiele Maffei California Earthquake Authority (CEA)
Ines Pearce Pearce Global Partners
Wendy Phillips FEMA Building Science Branch
Jeff Plumblee, PhD. FLUOR
Audrey Rierson FLASH
Tim Smail FLASH
David Vaughn FLUOR
Eric Vaughn FLASH
Margaret Vinci California Institute of Technology

## Slide 33: Resources and Notes

## Slide 34: Valuable Websites
WWW
DRB TOOLKIT http://www.DRBToolKit.org (use coupon code at checkout: QuakeSmart)
EARTHQUAKE COUNTRY ALLIANCE – SEVEN STEPS TO EARTHQUAKE SAFETY http://earthquakecountry.org/sevensteps/
FEMA EARTHQUAKE INFORMATION/QUAKESMART TOOLKIT http://www.fema.gov/QuakeSmart http://www.flash.org/QuakeSmart/
FLASH http://www.flash.org/QuakeSmart http://www.flash.org/peril_earthquake.php www.quakesmartcommunity.org
GREAT SHAKEOUT EARTHQUAKE DRILLS http://www.shakeout.org
READY https://www.ready.gov/earthquakes

## Slide 35
Thanks to Our Sponsors

## Slide 36: AGENDA

## Slide 37: WELCOME

## Slide 38: INTRODUCTION TO QUAKESMART

## Slide 39: NOTES